## Sheet1
200327: RNAseAlert kit: test 01
pipetting order -> | 1 | 2 | 3 (incubation 60s, RT) | 4 |  | 5 |  | 6 (measurement follows at 37°C)
reaction mix No. | 20mM HEPES pH7.0 | RNAse A (new kit) 0.01U/ml | DEPC 5% | Imidazole 0.5M |  | RNAse A (new kit) 0.01U/ml |  | substrate (old kit) | total
1 | 45 | [6 empty] | 5 | 50
2 | 42.5 | 2.5 | [5 empty] | 5 | 50
3 | 40.5 | 2.5 | 1 | 1 |  |  |  | 5 | 50
4 | 38 | 2.5 | 1 | 1 |  | 2.5 |  | 5 | 50
5 | 49 |  | 1 | [5 empty] | 50
6 | 49 |  |  | 1 |  |  |  |  | 50
7 | 50 | [7 empty] | 50
8 | air | air | air | air |  | air |  | air | …
Incubate at 37°C (in Varioscan) for 60min.
Measure fluorescence every 5min, ex/em 490/520nm.
200330: RNAseAlert kit: test 02
pipetting order -> | 1 | 2 | 3 (incubation 10min, 37deg.C) | 4 | 5 | 6 |  | 7 (measurement follows at 37°C)
reaction mix No. | 20mM HEPES pH7.0 or 100mM phosphate pH7.0 | Benzoase(TM) nuclease 25U/ul | DEPC 5% | Imidazole 0.5M | Cas13 protein | Benzoase(TM) nuclease 25U/ul |  | substrate (new kit) one tube + 14.2ul 10x buffer top up to 142ul (both from the kit) | total | notes | notes
1 | 45 | [6 empty] | 5 | 50 | neg ctrl (new substrate) | HEPES
2 | 42.5 | 0.5ul + 2ul water | [5 empty] | 5 | 50 | pos ctrl (new substrate) | HEPES
3 | 37.5 | 0.5ul + 2ul water |  |  | 5 |  |  | 5 | 50 | pos ctrl + Cas 1x | HEPES
4 | 37.5 | 0.5ul + 2ul water |  |  | 5 |  |  | 5 | 50 | pos ctrl + Cas 10x | HEPES
5 | 50 | [7 empty] | 50 | neg ctrl | PB
6 | 42.5 | 0.5ul + 2ul water | [5 empty] | 5 | 50 | pos ctrl | PB
7 | 40.5 | 0.5ul + 2ul water | 1 | 1 |  |  |  | 5 | 50 | inhibited | PB
8 | 38 | 0.5ul + 2ul water | 1 | 1 |  | 2.5 |  | 5 | 50 | inhibited+fresh RNAse | PB
9 | air | air | air | air | air | air |  | air | …
Add 5ul to the plate, then add 45ul of reaction to it.
Work in quadruplicates, pipet them on the plate in squares.
Incubate at 37°C (in Varioscan) for 24min.
Measure fluorescence every 2min, ex/em 490/520nm, read each well for 100ms with 10ul delay.
200401: RNAseAlert kit: test 03
pipetting order -> | 1 | 2 | 3 |  | 4 (incubation 10min, 37deg.C) | 5 | 6 |  | 7 | 8 (measurement follows at 37°C)
reaction mix No. | buffer | water | Benzoase(TM) nuclease 25U/ul | 1M MgCl2 | DEPC 5% | Imidazole 0.5M | Cas13 protein 10x stock (as NM protocol) Cas13 diluted in the buffer | Cas13 buffer (diluted in water if applicable) | Benzoase(TM) nuclease 25U/ul | substrate (new kit from Josie) one tube + 5ul 10x buffer top up to 125ul with nuclease free water (both from the kit) | total | notes i | notes ii
1 | 37 | 5.5 | 0.5 | 2 | [5 empty] | 5 | 50 | w/o RNAse | HEPES 20mM
2 | 37 | 5.5 | 0.5 | 2 | [5 empty] | 5 | 50 | pos ctrl = RNAse+substrate | HEPES 20mM
3 | 37 | 3.5 | 0.5 | 2 | 1 | 1 |  |  |  | 5 | 50 | neg ctrl = RNAse+substrate +DEPC | HEPES 20mM
4 | 37 | 3 | 0.5 | 2 | 1 | 1 |  |  | 0.5 | 5 | 50 | pos ctrl = RNAse+substrate +DEPC+RNAse | HEPES 20mM
5 | 37 | 4.5 | 0.5 | 2 |  |  | 1 |  |  | 5 | 50 | pos ctrl + Cas 0.01x | HEPES 20mM
6 | 37 | 4.5 | 0.5 | 2 |  |  | 1 |  |  | 5 | 50 | pos ctrl + Cas 0.2x | HEPES 20mM
7 | 37 | 0.5 | 0.5 | 2 |  |  | 5 |  |  | 5 | 50 | pos ctrl + Cas 1x | HEPES 20mM
8 | 37 | 4.5 | 0.5 | 2 |  |  |  | 1 |  | 5 | 50 | pos ctrl + Cas buffer 0.01x | HEPES 20mM
9 | 37 | 4.5 | 0.5 | 2 |  |  |  | 1 |  | 5 | 50 | pos ctrl + Cas buffer 0.2x | HEPES 20mM
10 | 37 | 0.5 | 0.5 | 2 |  |  |  | 5 |  | 5 | 50 | pos ctrl + Cas buffer 1x | HEPES 20mM
11 | 37 | 5.5 | 0.5 | 2 | [5 empty] | 5 | 50 | pos ctrl = RNAse+substrate | PB 20mM
12 | 37 | 3.5 | 0.5 | 2 | 1 | 1 |  |  |  | 5 | 50 | inhib pos ctrl = RNAse+substrate +DEPC | PB 20mM
13 | air | air | air |  | air | air | air | air | air | air | …
Add 5ul of substrate to the plate, then add 45ul of reaction to it.
Volumes in ul are for one well. For 4 rplicates multiply by 4.1 | [6 empty] | Tube No. 5 and 8 are 10x diluted stock (1ul 10x diluted and taken 1ul) |  | 240
Working in quadruplicates, pipet the same reaction in squares to achieve an even of variances. | [6 empty] | Tube No. 6 and 9 are 1ul of the stock = 5x dilution
Incubate at 37°C (in Varioscan) for at lease 24min. | [6 empty] | Tube No. 7 and 10 are the stock - (that is called 10x concentrated)
Measure fluorescence every 2min, ex/em 490/520nm, read each well for 100ms with 10ul delay.
Errors in pipetting:
1 | 1 and 2 are the same, both positive controls.
2 | Only 3ul of substrate were added into wells in H4 and H6.
3 | The volumes were not multiplied by 4.1 for pipetting, therefore they were 4.1 times diluted by water and signal reading prolonged to 400ms!
200408: RNAseAlert kit: test 04 - Cas13 RNAse activity
Chemicals used in the assay
name | details
buffer | 1M HEPES, pH7.0
water | water
Cas13 in SB | Cas13 protein 10x; 5ul of stock Cas13 (2mg/ml) diluted by adding 153ul of strorage buffer (SB)
Cas13 in SB | Cas13 protein 20x; 5ul of stock Cas13 (2mg/ml) diluted by adding 76.5ul of strorage buffer (SB)
SB | Storage buffer for Cas13 (Kellner at al, NM, 2019)
substrate | substrate one tube + 15ul 10x buffer (kit) top up to 150ul with nuclease free water (Josie) | [6 empty] | (new kit from Josie)
guideRNA | 10ul/ul | dilute 1000x | [5 empty] | from Josie (freezer Joe -20deg.C)
target RNA positive ctrl | TWIST ctrl1 | 1E6 copies/ul | dilute 10x for the reaction to obtain 1E5/ul |  |  |  |  | freezer downstairs -80deg.C
target RNA negative ctrl | Orf1 negative control - UGAGUGUAAU…. | 1.8ug/ul is 2.1E13 copies/ul | dilute210x, 1000x 1000x to obtain 1E5/ul |  |  |  |  | freezer Joe -20deg.C
pipetting order/ treatment -> | 1 | 2 | 3 | 4 | 5 | 6 | 7/ measure at 37°C immediatelly |  |  |  |  | for 4 replicates (4 times 1.15 more)
reaction mix No. | buffer | water | guide RNA | positive target RNA | negative target RNA | Cas13 | substrate | total | details | notes |  |  | buffer | water | guide RNA | positive target RNA | negative target RNA | Cas13 | substrate | total | details | notes
1 | 2.5 | 34 | 1 | 2.5 |  | 5 | 5 | 50 | Cas 1x | pos ctrl |  | 1 | 11.5 | 156.4 | 4.6 | 11.5 | 0 | 23 | 23 | 230 | Cas 1x | pos ctrl
2 | 2.5 | 34 | 1 | 2.5 |  | 5 | 5 | 50 | Cas 2x | pos ctrl |  | 2 | 11.5 | 156.4 | 4.6 | 11.5 | 0 | 23 | 23 | 230 | Cas 2x | pos ctrl
3 | 2.5 | 34 | 1 |  | 2.5 | 5 | 5 | 50 | neg target 2.5E5 | neg ctrl |  | 3 | 11.5 | 156.4 | 4.6 | 0 | 11.5 | 23 | 23 | 230 | neg target 2.5E5 | neg ctrl
4 | 2.5 | 35 |  | 2.5 |  | 5 | 5 | 50 | no guide | neg ctrl |  | 4 | 11.5 | 161 | 0 | 11.5 | 0 | 23 | 23 | 230 | no guide | neg ctrl
5 | 2.5 | 36.5 | 1 |  |  | 5 | 5 | 50 | no target | neg ctrl |  | 5 | 11.5 | 167.9 | 4.6 | 0 | 0 | 23 | 23 | 230 | no target | neg ctrl
6 | 2.5 | 39 | 1 | 2.5 |  |  | 5 | 50 | no Cas | neg ctrl |  | 6 | 11.5 | 179.4 | 4.6 | 11.5 | 0 | 0 | 23 | 230 | no Cas | neg ctrl
7 | 2.5 | 34 | 1 |  | 2.5 | 5 | 5 | 50 | neg target 2.5E8 | neg ctrl |  | 7 | 11.5 | 156.4 | 4.6 | 0 | 11.5 | 23 | 23 | 230 | neg target 2.5E8 | neg ctrl
Protocol:
1 | Add 5ul of substrate to the plate, then add 45ul of reaction to it.
2 | Volumes in ul per well. For 4 rplicates multiply by 4 then by 1.15
3 | Working in quadruplicates, pipet the same reaction in squares to achieve an even variances.
4 | Incubate at 37°C (in Varioscan) and measure for up to one hour (e.g. 24min).
5 | Measure fluorescence every 2min, ex/em 490/520nm, read each well for 100ms with 10ul delay.
200409: RNAseAlert kit: test 05 - Cas13 RNAse activity
Strategy for this assay:
Repeat of previous assay, with the following changes:
· Use fresh plate
· Increase concentration of guide RNAs to 2.5ul
· Include benzonase nuclease + substrate as a positive control
· Increase concentration of substrate
· Pre-incubate Cas13 + guide RNAs for 10 minutes at room temperature
· Pipette target RNA with the substrate on the plate, start the reaction with master mix (buffer + water + Cas13 + guideRNA)
Chemicals used in the assay
name | details
buffer | 1M HEPES, pH7.0
water | water
Cas13 in SB | Cas13 protein 10x; 5ul of stock Cas13 (2mg/ml) diluted by adding 153ul of strorage buffer (SB)
SB | Storage buffer for Cas13 (Kellner at al, NM, 2019)
substrate | substrate 2 tubes + 185ul of nuclease free water (Josie) | [6 empty] | (new kit from Josie)
guideRNA | 10ul/ul | dilute 1000x | [5 empty] | from Josie (freezer Joe -20deg.C)
target RNA positive ctrl | TWIST ctrl1 | 1E6 copies/ul | dilute 10x for the reaction to obtain 1E5/ul |  |  |  |  | freezer downstairs -80deg.C
target RNA negative ctrl | Orf1 negative control - UGAGUGUAAU…. | 1.8ug/ul is 2.1E13 copies/ul | dilute210x, 1000x 1000x to obtain 1E5/ul |  |  |  |  | freezer Joe -20deg.C
Benzoase(TM) nuclease | 25U/ul
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B | [5 empty] | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B
reaction mix No. | buffer | water | guide RNA | Cas13 | Benzoase(TM) nuclease 25U/ul | positive target RNA | negative target RNA | substrate | total | details | notes |  |  | buffer | water | guide RNA | Cas13 | Benzoase(TM) nuclease 25U/ul | positive target RNA | negative target RNA | substrate | details | notes
1 | 2.5 | 32.5 | 2.5 | 5 |  | 2.5 |  | 5 | 50 | Cas 10x=>1x | pos ctrl |  | 1 | 11.5 | 149.5 | 11.5 | 23 | 0 | 11.5 | 0 | 23 | 230 | Cas 10x=>1x | pos ctrl
2 | 2.5 | 25 | 2.5 | 10 |  | 5 |  | 5 | 50 | 2x Cas, target | pos ctrl - more |  | 2 | 11.5 | 115 | 11.5 | 46 | 0 | 23 | 0 | 23 | 230 | 2x Cas, target | pos ctrl - more
3 | 2.5 | 32.5 | 2.5 | 5 |  |  | 2.5 | 5 | 50 | neg target 2.5E5 | neg ctrl |  | 3 | 11.5 | 149.5 | 11.5 | 23 | 0 | 0 | 11.5 | 23 | 230 | neg target 2.5E5 | neg ctrl
4 | 2.5 | 32.5 | 2.5 | 5 |  |  | 2.5 | 5 | 50 | neg target 2.5E8 | neg ctrl |  | 4 | 11.5 | 149.5 | 11.5 | 23 | 0 | 0 | 11.5 | 23 | 230 | neg target 2.5E8 | neg ctrl
5 | 2.5 | 35 |  | 5 |  | 2.5 |  | 5 | 50 | no guide | neg ctrl |  | 5 | 11.5 | 161 | 0 | 23 | 0 | 11.5 | 0 | 23 | 230 | no guide | neg ctrl
6 | 2.5 | 35 | 2.5 | 5 |  |  |  | 5 | 50 | no target | neg ctrl |  | 6 | 11.5 | 161 | 11.5 | 23 | 0 | 0 | 0 | 23 | 230 | no target | neg ctrl
7 | 2.5 | 37.5 | 2.5 |  |  | 2.5 |  | 5 | 50 | no Cas | neg ctrl |  | 7 | 11.5 | 172.5 | 11.5 | 0 | 0 | 11.5 | 0 | 23 | 230 | no Cas | neg ctrl
8 | 2.5 | 42 |  |  | 0.5 |  |  | 5 | 50 | Benzoase | pos ctrl - substrate only |  | 8 | 11.5 | 193.2 | 0 | 0 | 2.3 | 0 | 0 | 23 | 230 | Benzoase | pos ctrl - substrate only
Protocol:
1 | prepare tube A and B, mix them, then pipette all on plate using dispensing pipette
2 | Volumes in ul per well. For 4 rplicates multiply by 4 then by 1.15
3 | Working in quadruplicates, pipet the replicates in the same rows.
4 | Incubate at 37°C (in Varioscan) and measure for up to one hour (e.g. 36min).
5 | Measure fluorescence every 2min, ex/em 490/520nm, read each well for 100ms with 10ul delay.
200430: RNAseAlert kit: test 06 - new Cas13 prep - DNA positive control
General design:
Test of DNA positive control
Notes:
Repeat of previous assay, with the following changes:
· Use ratio of Cas13/guide RNA as in the Kellner's protocol
· Pre-incubate Cas13 + guide RNAs for 10 minutes at room temperature - did not help last time; it happens anyway, it takes at least 10 minutes to prepare Tube A)
· Pipette target RNA with the substrate on the plate, start the reaction with master mix (buffer + water + Cas13 + guideRNA)
Chemicals used in the assay
name | details |  |  | 1ng = 1.87E-5nmol = 1E10 copies
buffer | 1M HEPES, pH7.0 |  |  | 1 | 53367.7 | 1.8738e-05 | nmol | 1.8738e-14 | M | 11242755449.4573 | 18.7379 | nM
water | water |  |  |  |  | 18.7379 | fmol
Cas13 in SB | Cas13 protein 10x (63.3ug/ml); 5ul of stock Cas13 (2mg/ml) diluted by adding 153ul of strorage buffer (SB)
SB | Storage buffer for Cas13 (Kellner at al, NM, 2019)
substrate | 2 nmol/tube dissolved in 1ml => 2uM | [6 empty] | (substrate ordered separatelly)
guideRNA | 10ng/ul | [6 empty] | from Josie (freezer Joe -20deg.C)
Murine RNAse inhibitor (NEB) | 40U/ul
Benzoase(TM) nuclease | 25U/ul
T7promoter -Orf1a negative control 3ng/ul |  |  | i.e. | 5.6215e-05 | nmol | i.e | 5.6215e-14 | mol | i.e. | 33728708752.5999 | copy/ul | dilute by a factor |  | 33.7 | final conc | 1000851891.7685 |  | copy/ul
T7promoter -Orf1a positive control 2ng/ul |  |  | i.e. | 3.7476e-05 | nmol | i.e | 3.7476e-14 | mol | i.e. | 22485805835.0666 | copy/ul | dilute by a factor |  | 22.5 |  | 999369148.2252 | 9993691.4823 | copy/ul
T7 RNA ploymerase | 5U/ul
dNTP mix | 25mM each
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B | Tube B | Tube B |  | Directly on the plate later | [6 empty] | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B | Tube B | Tube B
reaction mix No. | buffer | water | 1M MgCl2 | rNTP mix | guide RNA | T7 RNApol | Cas13 | Murine RNAse inhibitor | Amplified target DNA positive | Amplified target DNA negative |  |  | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details |  | reaction mix No. | buffer | water | 1M MgCl2 | rNTP mix | guide RNA | T7 RNApol | Cas13 | Murine RNAse inhibitor | Amplified target DNA positive | Amplified target DNA negative | 0 | 0 | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details
1 | 0.4 | 9.12 | 0.18 | 0.8 | 1 | 0.5 | 2 | 1 |  |  |  |  | 1.25 | 3.75 |  | 20 | 15 | 5 | neg ctrl | no target |  | 1 | 2 | 45.6 | 0.9 | 4 | 5 | 2.5 | 10 | 5 | 0 | 0 | 0 | 0 | 6.25 | 18.75 | 0 | 100 | 75 | 25 | neg ctrl | no target
2 | 0.4 | 11.12 | 0.18 | 0.8 | 1 | 0.5 |  | 1 | 1 |  |  |  | 1.25 | 2.75 |  | 20 | 15 | 5 | neg ctrl | no Cas13, DNA 1E7 |  | 2 | 2 | 55.6 | 0.9 | 4 | 5 | 2.5 | 0 | 5 | 5 | 0 | 0 | 0 | 6.25 | 13.75 | 0 | 100 | 75 | 25 | neg ctrl | no Cas13, DNA 1E7
3 | 0.4 | 9.12 | 0.18 | 0.8 | 1 | 0.5 | 2 | 1 | 1 |  |  |  | 1.25 | 2.75 |  | 20 | 15 | 5 | pos ctrl | DNA 1E7 |  | 3 | 2 | 45.6 | 0.9 | 4 | 5 | 2.5 | 10 | 5 | 5 | 0 | 0 | 0 | 6.25 | 13.75 | 0 | 100 | 75 | 25 | pos ctrl | DNA 1E7
4 | 0.4 | 9.12 | 0.18 | 0.8 | 1 | 0.5 | 2 | 1 | 1 |  |  |  | 1.25 | 2.75 |  | 20 | 15 | 5 | pos ctrl | DNA 1E9 |  | 4 | 2 | 45.6 | 0.9 | 4 | 5 | 2.5 | 10 | 5 | 5 | 0 | 0 | 0 | 6.25 | 13.75 | 0 | 100 | 75 | 25 | pos ctrl | DNA 1E9
5 | 0.4 | 9.12 | 0.18 | 0.8 | 1 | 0.5 | 2 | 1 |  | 1 |  |  | 1.25 | 2.75 | 0.5 | 20 | 15 | 5 | neg ctrl | DNA 1E7 |  | 5 | 2 | 45.6 | 0.9 | 4 | 5 | 2.5 | 10 | 5 | 0 | 5 | 0 | 0 | 6.25 | 13.75 | 2.5 | 100 | 75 | 25 | neg ctrl | DNA 1E7
6 | 0.4 | 12.12 | 0.18 | 0.8 | 1 | 0.5 |  |  | 1 |  |  |  | 1.25 | 2.75 | 0.5 | 20 | 15 | 5 | pos ctrl | RNApol test |  | 6 | 2 | 60.6 | 0.9 | 4 | 5 | 2.5 | 0 | 0 | 5 | 0 | 0 | 0 | 6.25 | 13.75 | 2.5 | 100 | 75 | 25 | pos ctrl | RNApol test
7 | 0.4 | 13.42 | 0.18 |  | 1 | [7 empty] | 1.25 | 3.75 | 0.5 | 20 | 15 | 5 | pos ctrl | reporter system test |  | 7 | 2 | 67.1 | 0.9 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.25 | 18.75 | 2.5 | 100 | 75 | 25 | pos ctrl | reporter system test
Protocol:
1 | Prepare tube A and B, mix them, then pipette all on plate using dispensing pipette and measure.
2 | Volumes in ul per well. For 4 rplicates multiply by 4 then by 1.15
3 | Work in quadruplicates, pipet the replicates in the same rows.
4 | Incubate at 37°C (in Varioscan) and measure for up to one hour (e.g. 36min).
5 | Measure fluorescence every 2min, ex/em 490/520nm, read each well for 100ms with 10ul delay.
200504: RNAseAlert kit: test 07 - substrate
General design:
Test of the new substrate and buffers
Notes:
Repeat of previous assay, with the following changes:
· Tris, HEPES, phophate, Cas Strogage buffer, dection kit buffer,…
· Different concentrations of the substrate, new vs old.
Chemicals used in the assay
name | details
buffer | 1M HEPES, pH7.0
water | MilliQ
HEPES | 1M HEPES, pH7.0
SB buffer | Storage buffer for Cas13 (Kellner at al, NM, 2019) 10x concentrated
phosphate buffer | 100mM, for month on my table
kit buffer | from IVT RNAseAlert kit 10x concentrated
Tris | 1M Tris.Cl pH7.5 from our media kitchen
new substrate | 2 nmol/tube dissolved in 1ml of water => 2uM
kit substrate | tube dissolved in 60ul of water
very old substrate | Joe's brown tube
Murine RNAse inhibitor (NEB) | 40U/ul
Benzoase(TM) nuclease | 25U/ul
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | [8 empty] | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B | Tube B | Tube B
reaction mix No. | water | 20mM HEPES pH7 | 20mM Tris.Cl ph 7.5 | 10mM Phosphate pH7 | kit buffer 1x | SB buffer 1x | Murine RNAse inhibitor | … | Benzoase(TM) nuclease 25U/ul |  | very old substrate | kit substrate | new substrate | water |  | total | tube A | tube B | notes | details |  | reaction mix No. | water | 20mM HEPES pH7 | 20mM Tris.Cl ph 7.5 | 10mM Phosphate pH7 | kit buffer 1x | SB buffer 1x | Murine RNAse inhibitor | … | Benzoase(TM) nuclease 25U/ul | 0 | very old substrate | kit substrate | new substrate | water | 0 | total | tube A | tube B | notes | details
1 | 23.5 |  |  |  | 1 |  |  |  | 0.5 |  | 1.25 |  |  | 23.75 |  | 50 | 25 | 25 | pos ctrl |  |  | 1 | 117.5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2.5 | 0 | 6.25 | 0 | 0 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | 0
2 | 23.5 |  |  |  | 1 |  |  |  | 0.5 |  | 10 |  |  | 15 |  | 50 | 25 | 25 | pos ctrl |  |  | 2 | 117.5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2.5 | 0 | 50 | 0 | 0 | 75 | 0 | 250 | 125 | 125 | pos ctrl | 0
3 | 23.5 |  |  |  | 1 |  |  |  | 0.5 |  |  | 1.25 |  | 23.75 |  | 50 | 25 | 25 | pos ctrl |  |  | 3 | 117.5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2.5 | 0 | 0 | 6.25 | 0 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | 0
4 | 23.5 |  |  |  | 1 |  |  |  | 0.5 |  |  | 10 |  | 15 |  | 50 | 25 | 25 | pos ctrl |  |  | 4 | 117.5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2.5 | 0 | 0 | 50 | 0 | 75 | 0 | 250 | 125 | 125 | pos ctrl | 0
5 | 23.5 |  |  |  | 1 |  |  |  | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | pos ctrl |  |  | 5 | 117.5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | 0
6 | 23.5 |  |  |  | 1 |  |  |  | 0.5 |  |  |  | 10 | 15 |  | 50 | 25 | 25 | pos ctrl |  |  | 6 | 117.5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 50 | 75 | 0 | 250 | 125 | 125 | pos ctrl | 0
1 | 24 | 1 | [10 empty] | 1.25 | 23.75 |  | 50 | 25 | 25 | neg ctrl | no Benzoase |  | 1 | 120 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | neg ctrl | no Benzoase
2 | 22.5 | 1 |  |  |  |  | 1 |  | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | ? ctrl | Mur.Inh |  | 2 | 112.5 | 5 | 0 | 0 | 0 | 0 | 5 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | ? ctrl | Mur.Inh
3 | 23.5 | 1 | [6 empty] | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | pos ctrl | HEPES |  | 3 | 117.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | HEPES
4 | 23.5 |  | 1 | [5 empty] | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | pos ctrl | Tris |  | 4 | 117.5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | Tris
5 | 19.5 |  |  | 5 |  |  |  |  | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | pos ctrl | Phosph |  | 5 | 97.5 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | Phosph
6 | 19.5 |  |  |  | 5 |  |  |  | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | pos ctrl | kit |  | 6 | 97.5 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | kit
7 | 19.5 |  |  |  |  | 5 |  |  | 0.5 |  |  |  | 1.25 | 23.75 |  | 50 | 25 | 25 | pos ctrl | SB |  | 7 | 97.5 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 2.5 | 0 | 0 | 0 | 6.25 | 118.75 | 0 | 250 | 125 | 125 | pos ctrl | SB
Protocol:
1 | Prepare tube A and B, mix them, then pipette all on plate using dispensing pipette and measure.
2 | Volumes in ul per well. For 4 rplicates multiply by 4 then by 1.15
3 | Work in quadruplicates, pipet the replicates in the same rows.
4 | Incubate at 37°C (in Varioscan) and measure for up to one hour (e.g. 36min).
5 | Measure fluorescence every 2min, ex/em 490/520nm, read each well for 100ms with 10ul delay.
200507: RNAseAlert kit: test 08 - new Cas13 prep & DNA positive/negative control
General design:
Test of DNA positive control
Notes:
Repeat of previous assay 06 with the following changes:
· Use 10ul of the substrate
· Start measurement as quickly as possible
· Use benzoase as a control
Chemicals used in the assay
name | details |  |  | 1ng = 1.87E-5nmol = 1E10 copies
buffer | 1M HEPES, pH7.0 |  |  | 1 | 53367.7 | 1.8738e-05 | nmol | 1.8738e-14 | M | 11242755449.4573 | 18.7379 | nM
water | water |  |  |  |  | 18.7379 | fmol
Cas13 in SB | Cas13 protein 10x (63.3ug/ml); 5ul of stock Cas13 (2mg/ml) diluted by adding 153ul of strorage buffer (SB)
SB | Storage buffer for Cas13 (Kellner at al, NM, 2019)
substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul | [6 empty] | (substrate ordered separatelly)
guideRNA | 10ng/ul | [6 empty] | from Josie (freezer Joe -20deg.C)
Murine RNAse inhibitor (NEB) | 40U/ul => | diluted to 4U/ul
Benzoase(TM) nuclease | 25U/ul
T7promoter -Orf1a negative control 3ng/ul |  |  | i.e. | 5.6215e-05 | nmol | i.e | 5.6215e-14 | mol | i.e. | 33728708752.5999 | copy/ul | dilute by a factor |  | 33.7 | final conc | 1000851891.7685 |  | copy/ul
T7promoter -Orf1a positive control 2ng/ul |  |  | i.e. | 3.7476e-05 | nmol | i.e | 3.7476e-14 | mol | i.e. | 22485805835.0666 | copy/ul | dilute by a factor |  | 22.5 |  | 999369148.2252 | 9993691.4823 | copy/ul
T7 RNA ploymerase | 5U/ul
rNTP mix | 25mM each
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Directly on the plate later | [6 empty] | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B | Tube B | Tube B
reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 | rNTP mix | guide RNA | T7 RNApol | Cas13 | Murine RNAse inhibitor |  | Amplified target DNA positive | Amplified target DNA negative |  | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details |  | reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 | rNTP mix | guide RNA | T7 RNApol | Cas13 | Murine RNAse inhibitor | 0 | Amplified target DNA positive | Amplified target DNA negative | 0 | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details
1 | 8.24 | 0.8 | 0.36 | 1.6 | 2 | 1 | 4 | 2 |  |  |  |  | 10 | 10 |  | 40 | 20 | 20 | neg ctrl | no target |  | 1 | 41.2 | 4 | 1.8 | 8 | 10 | 5 | 20 | 10 | 0 | 0 | 0 | 0 | 50 | 50 | 0 | 200 | 100 | 100 | neg ctrl | no target
2 | 12.24 | 0.8 | 0.36 | 1.6 | 2 | 1 |  | 2 |  | 2 |  |  | 10 | 8 |  | 40 | 20 | 20 | neg ctrl | no Cas13, DNA(+) 1E7 |  | 2 | 61.2 | 4 | 1.8 | 8 | 10 | 5 | 0 | 10 | 0 | 10 | 0 | 0 | 50 | 40 | 0 | 200 | 100 | 100 | neg ctrl | no Cas13, DNA(+) 1E7
3 | 9.24 | 0.8 | 0.36 | 1.6 | 2 |  | 4 | 2 |  | 2 |  |  | 10 | 8 |  | 40 | 20 | 20 | neg ctrl | no T7, DNA(+) 1E7 |  | 3 | 46.2 | 4 | 1.8 | 8 | 10 | 0 | 20 | 10 | 0 | 10 | 0 | 0 | 50 | 40 | 0 | 200 | 100 | 100 | neg ctrl | no T7, DNA(+) 1E7
4 | 8.24 | 0.8 | 0.36 | 1.6 | 2 | 1 | 4 | 2 |  |  | 2 |  | 10 | 8 |  | 40 | 20 | 20 | neg ctrl | DNA(-) 1E7 |  | 4 | 41.2 | 4 | 1.8 | 8 | 10 | 5 | 20 | 10 | 0 | 0 | 10 | 0 | 50 | 40 | 0 | 200 | 100 | 100 | neg ctrl | DNA(-) 1E7
5 | 8.24 | 0.8 | 0.36 | 1.6 | 2 | 1 | 4 | 2 |  | 2 |  |  | 10 | 8 |  | 40 | 20 | 20 | pos ctrl | DNA(+) 1E9 |  | 5 | 41.2 | 4 | 1.8 | 8 | 10 | 5 | 20 | 10 | 0 | 10 | 0 | 0 | 50 | 40 | 0 | 200 | 100 | 100 | pos ctrl | DNA(+) 1E9
6 | 8.24 | 0.8 | 0.36 | 1.6 | 2 | 1 | 4 | 2 |  | 2 |  |  | 10 | 8 |  | 40 | 20 | 20 | pos ctrl | DNA(+) 1E7 |  | 6 | 41.2 | 4 | 1.8 | 8 | 10 | 5 | 20 | 10 | 0 | 10 | 0 | 0 | 50 | 40 | 0 | 200 | 100 | 100 | pos ctrl | DNA(+) 1E7
7 | 17.2 | 0.8 |  |  | 2 | [7 empty] | 10 | 9.75 | 0.25 | 40 | 20 | 20 | pos ctrl | reporter test |  | 7 | 86 | 4 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 48.75 | 1.25 | 200 | 100 | 100 | pos ctrl | reporter test
8 | [18 empty] | neg ctrl | air |  | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | neg ctrl | air
200518: RNAseAlert kit: test 09 - test of new Cas13 prep in individual purification steps
General design:
Do see Cas13 activity (?) in:
· Soluble cell lysate
· StrepTrap eluate
· CIEX eluate
Chemicals used in the assay
name | details / dilution…...
buffer | 1M HEPES, pH7.0
water | water
Cas13 in purificaiton buffers |  | … | purificaiton stages, take 1ul
substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul | [6 empty] | (substrate ordered separatelly)
from Josie (freezer Joe -20deg.C)
Benzoase(TM) nuclease | 25U/ul
RNA Orf1ab positive control 2.4ug/ul |  |  | dilute | 24000 | times (i.e. 240x then 100x)to get |  |  | 0.1ng/ul | which is 100 times less than guide RNA |  |  |  | 1.8868 | fmol | 0.037736 | fmol/ul | nM
RNA Orf1ab negative control 1.2ug/ul |  |  | dilute | 12000 | times (i.e. 120x then 100x)to get |  |  |  | which is 100 times less than guide RNA
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Directly on the plate later | [6 empty] | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube A | Tube B | Tube B | Tube B | Tube B | Tube B
reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 |  | guide RNA |  | Cas13 |  |  | Amplified target DNA positive | Amplified target DNA negative |  | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details |  | reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 | 0 | guide RNA | 0 | Cas13 | 0 | 0 | Amplified target DNA positive | Amplified target DNA negative | 0 | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details
1 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  | 1 | 18 |  | 40 | 20 | 20 | pos ctrl |  |  | 1 | 74.2 | 4 | 1.8 | 0 | 10 | 0 | 10 | 0 | 0 | 5 | 0 | 0 | 5 | 90 | 0 | 200 | 100 | 100 | pos ctrl | 0
2 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  | 1 | 18 |  | 40 | 20 | 20 | pos ctrl |  |  | 2 | 74.2 | 4 | 1.8 | 0 | 10 | 0 | 10 | 0 | 0 | 5 | 0 | 0 | 5 | 90 | 0 | 200 | 100 | 100 | pos ctrl | 0
3 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  | 1 | 18 |  | 40 | 20 | 20 | pos ctrl |  |  | 3 | 74.2 | 4 | 1.8 | 0 | 10 | 0 | 10 | 0 | 0 | 5 | 0 | 0 | 5 | 90 | 0 | 200 | 100 | 100 | pos ctrl | 0
4 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  | 1 | 18 |  | 40 | 20 | 20 | neg ctrl |  |  | 4 | 74.2 | 4 | 1.8 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | 5 | 0 | 5 | 90 | 0 | 200 | 100 | 100 | neg ctrl | 0
5 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  | 1 | 18 |  | 40 | 20 | 20 | neg ctrl |  |  | 5 | 74.2 | 4 | 1.8 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | 5 | 0 | 5 | 90 | 0 | 200 | 100 | 100 | neg ctrl | 0
6 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  | 1 | 18 |  | 40 | 20 | 20 | neg ctrl |  |  | 6 | 74.2 | 4 | 1.8 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | 5 | 0 | 5 | 90 | 0 | 200 | 100 | 100 | neg ctrl | 0
7 | 16.84 | 0.8 | 0.36 |  | 2 | [7 empty] | 1 | 18.5 | 0.5 | 40 | 20 | 20 | pos ctrl | reporter test |  | 7 | 84.2 | 4 | 1.8 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 92.5 | 2.5 | 200 | 100 | 100 | pos ctrl | reporter test
8 | [18 empty] | neg ctrl | air |  | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | neg ctrl | air
200518: RNAseAlert kit: test 09-2 Test of new Cas13 prep in individual purification steps
Test both target RNA with replicates
General design:
Do see Cas13 activity (?) in: |  |  | vol(m) | mg/ml | mg |  |  |  | buffer
· Soluble cell lysate |  |  | 60 | … | …
· StrepTrap eluate |  |  | 15 | 0.38 | 5.7 |  |  |  | 20mM Tris.Cl pH 8.0 (at 4deg.C), 500mM NaCl, 1mM DTT
· CIEX eluate |  |  | 10 | 0.12 | 1.2 |  |  |  | 20mM Tris.Cl pH 8.0 (at 4deg.C), approximately 600mM NaCl, 1mM DTT, 5% glycerol
Chemicals used in the assay
name | details / dilution…...
buffer | 1M HEPES, pH7.0
water | water
Cas13 in SB | three before mentioned fractions in the purificaiton buffer
substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul => this had to be diluted approximatelly twice | [6 empty] | (substrate ordered separatelly)
guideRNA | 10ng/ul | [6 empty] | from Josie (freezer Joe -20deg.C)
Murine RNAse inhibitor (NEB) | 40U/ul => | diluted to 4U/ul
Benzoase(TM) nuclease | 25U/ul
RNA Orf1ab positive control 2.4ug/ul |  |  | dilute | 24000 | times (i.e. 240x then 100x) to get |  |  | 0.1ng/ul | which is 100 times less than guide RNA |  |  |  | 1.8868 | fmol | 0.037736 | fmol/ul | nM
RNA Orf1ab negative control 1.2ug/ul |  |  | dilute | 12000 | times (i.e. 120x then 100x) to get |  |  | 0.1ng/ul
RNA S positive control 2.2ug/ul |  |  | dilute | 22000 | times (i.e. 220x then 100x) to get |  |  | 0.1ng/ul
RNA S negative control 42ng/ul |  |  | dilute | 420 | times (i.e. 420x) to get |  |  | 0.1ng/ul
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Directly on the plate later | [6 empty] | Tube A | Tube A | Tube A | Tube A |  | Tube A | Tube A | Tube A |  |  | Tube B | Tube B | Tube B | Tube B | Tube B | Tube B
reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 |  | guide RNA | Murine inhibitor | Cas13 |  |  | Orf1ab RNA positive | Orf1ab RNA negative | S RNA positive | S RNA negative | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details |  | reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 | 0 | guide RNA | Murine inhibitor | Cas13 | 0 | 0 | Orf1ab RNA positive | Orf1ab RNA negative | S RNA positive | S RNA negative | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details
1 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | crude |  | 1 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  | 5 |  |  |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | crude
2 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | crude |  | 2 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  |  | 5 |  |  | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | crude
3 | 13.84 | 0.8 | 0.36 |  | 2 | 1 | 2 |  |  | 1 |  |  |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | crude |  | 3 | 69.2 | 4 | 1.8 |  | 10 | 5 | 10 |  |  | 5 |  |  |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | crude
4 | 13.84 | 0.8 | 0.36 |  | 2 | 1 | 2 |  |  |  | 1 |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | crude |  | 4 | 69.2 | 4 | 1.8 |  | 10 | 5 | 10 |  |  |  | 5 |  |  | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | crude
5 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  |  | 1 |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | crude |  | 5 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  |  |  | 5 |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | crude
6 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 | [5 empty] | 1 | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | crude |  | 6 | 74.2 | 4 | 1.8 |  | 10 |  | 10 | [5 empty] | 5 | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | crude
7 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | StrepTrap |  | 7 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  | 5 |  |  |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | StrepTrap
8 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | StrepTrap |  | 8 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  |  | 5 |  |  | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | StrepTrap
9 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  |  | 1 |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | StrepTrap |  | 9 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  |  |  | 5 |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | StrepTrap
10 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 | [5 empty] | 1 | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | StrepTrap |  | 10 | 74.2 | 4 | 1.8 |  | 10 |  | 10 | [5 empty] | 5 | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | StrepTrap
11 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | CIEX |  | 11 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  | 5 |  |  |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | CIEX
12 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | CIEX |  | 12 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  |  | 5 |  |  | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | CIEX
13 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  |  | 1 |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | CIEX |  | 13 | 74.2 | 4 | 1.8 |  | 10 |  | 10 |  |  |  |  | 5 |  | 50 | 45 |  | 200 | 100 | 100 | pos ctrl | CIEX
14 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 | [5 empty] | 1 | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | CIEX |  | 14 | 74.2 | 4 | 1.8 |  | 10 |  | 10 | [5 empty] | 5 | 50 | 45 |  | 200 | 100 | 100 | neg ctrl | CIEX
15 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 | [6 empty] | 10 | 9.8 | 0.2 | 40 | 20 | 20 | pos ctrl | reporter test |  | 15 | 74.2 | 4 | 1.8 |  | 10 |  | 10 | [6 empty] | 50 | 49 | 1 | 200 | 100 | 100 | pos ctrl | reporter test
16 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 | [7 empty] | 20 |  | 40 | 20 | 20 | neg ctrl | air |  | 16 | 74.2 | 4 | 1.8 |  | 10 |  | 10 | [7 empty] | 100 |  | 200 | 100 | 100 | neg ctrl | air
200601: RNAseAlert kit: test 10 - another fluorometer (Varioskan in Centrum)
Problem:
Suspecting Varioskan at TSL si not sensitive engouh…?
Chemicals used in the assay
short name | details | stock concentraiton | used concentation
water | Milli Q
buffer | HEPES, pH7.0 | 1M | 1M
MgCl2 |  | 1M | 1M
substrate | RNAseAlert substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul | 2uM
Benzoase | Benzoase(TM) nuclease | 25U/ul | 25U/ul
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette |  | Tube B - on plate | Tube B - on plate
reaction mix No. | water | buffer | MgCl2 | substrate | Benzoase | water |  | total | tube A | tube B | notes | details
1 | 17.84 | 0.8 | 0.36 | 1 | 0.5 | 19.5 |  | 40 | 20 | 20 | pos
2 | 17.84 | 0.8 | 0.36 | 1 |  | 20 |  | 40 | 20 | 20 | neg
Result: | Numbers were low, as if the substrate did not work.
But also failed to set up method for kinetic measurement; loop did not work.
200604: RNAseAlert kit: test 11-1 Test of new substrate and pure fluorescein (Varioskan in TSL)
Problem:
· Is Varioskan at TSL not sensitive engouh…?
· 1ul of Joe's substrate with 0.5ul of Benzoase did not produced anything in Centrum VarioskanLux
· Here I want to check new substrate again on TSL Varioskan
· Dilution range of pure fluorescein (>80%pure) in water
Chemicals used in the assay
short name | details | stock concentraiton | used concentation
water | Milli Q
buffer | HEPES, pH7.0 | 1M | 1M
MgCl2 |  | 1M | 1M
substrate | RNAseAlert substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul | 2uM
Benzoase | Benzoase(TM) nuclease | 25U/ul | 25U/ul
fluorescein | 66.1 | 1 | 0.01 | 0.0001 | 1e-06 | 1e-08 | 1e-10 | 1e-12 | mM
|  |  | 10uM | 100nM | 1nM | 10pM | 100fM | 1fM
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate
reaction mix No. | water | buffer | MgCl2 | substrate | Benzoase | water |  | total | tube A | tube B | notes | details
1 | 8.84 | 0.8 | 0.36 | 10 |  | 20 |  | 40 | 20 | 20 | neg | F11,12
2 | 8.84 | 0.8 | 0.36 | 10 | 0.5 | 19.5 |  | 40 | 20 | 20 | pos | G11,12
times | 2.3
1 | 20.332 | 1.84 | 0.828 | 23 | 0 | 46
2 | 20.332 | 1.84 | 0.828 | 23 | 1.15 | 44.85
sum | 40.664 | 3.68 | 1.656 | 46
200604: RNAseAlert kit: test 11 Test of "correct" Cas13a prep
New "correct" protein test
General design:
Similar to the assay of partially purified Cas
Chemicals used in the assay
short name | details | stock concentraiton | used concentation
water
buffer | 1M HEPES, pH7.0 |  | 1M
substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul => this had to be diluted approximatelly twice |  | 2uM |  |  |  |  | ( new substrate in brown tube)
guideRNA |  | 10ng/ul | [5 empty] | from Josie (freezer Joe -20deg.C)
inhibitor | Murine RNAse inhibitor (NEB) | 40U/ul => 10x diluted | 4U/ul
Cas13a |  | 5ul of 2mg/ml stock + 153ul SB | 63.3ug/ul
benzoase | Benzoase(TM) nuclease |  | 25U/ul
pos target | RNA Orf1ab positive control 2.4ug/ul |  |  | dilute | 24000 | times (i.e. 240x then 100x) to get |  |  | 0.1ng/ul | which is 100 times less than guide RNA |  |  |  | 1.8868 | fmol | 0.037736 | fmol/ul | nM
neg target | RNA Orf1ab negative control 1.2ug/ul |  |  | dilute | 12000 | times (i.e. 120x then 100x) to get |  |  | 0.1ng/ul
pos target | RNA S positive control 2.2ug/ul |  |  | dilute | 22000 | times (i.e. 220x then 100x) to get |  |  | 0.1ng/ul
neg target | RNA S negative control 42ng/ul |  |  | dilute | 420 | times (i.e. 420x) to get |  |  | 0.1ng/ul
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate
reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 |  | guide RNA | substrate | Cas13 |  |  | Orf1ab RNA positive | Orf1ab RNA negative | S RNA positive | S RNA negative | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details
1 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | Cas13 Orf
2 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  | 1 |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | Cas13 Orf
3 | 16.84 | 0.8 | 0.36 |  | 2 |  |  |  |  | 1 |  |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | noCas13 Orf
4 | 16.84 | 0.8 | 0.36 |  | 2 | [5 empty] | 1 |  |  | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | noCas13 Orf
5 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 |  |  |  |  | 1 |  | 10 | 9 |  | 40 | 20 | 20 | pos ctrl | Cas13 S
6 | 14.84 | 0.8 | 0.36 |  | 2 |  | 2 | [5 empty] | 1 | 10 | 9 |  | 40 | 20 | 20 | neg ctrl | Cas13 S
7 | 6.84 | 0.8 | 0.36 |  | 2 | 10 | [8 empty] | 19.5 | 0.5 | 40 | 20 | 20 | pos ctrl | reporter test
8
times | 3.45
1 | 51.198 | 2.76 | 1.242 |  | 6.9 |  | 6.9 |  |  | 3.45 |  |  |  | 34.5 | 31.05
2 | 51.198 | 2.76 | 1.242 |  | 6.9 |  | 6.9 |  |  |  | 3.45 |  |  | 34.5 | 31.05
3 | 58.098 | 2.76 | 1.242 |  | 6.9 |  |  |  |  | 3.45 |  |  |  | 34.5 | 31.05
4 | 58.098 | 2.76 | 1.242 |  | 6.9 | [5 empty] | 3.45 |  |  | 34.5 | 31.05
5 | 51.198 | 2.76 | 1.242 |  | 6.9 |  | 6.9 |  |  |  |  | 3.45 |  | 34.5 | 31.05
6 | 51.198 | 2.76 | 1.242 |  | 6.9 |  | 6.9 | [5 empty] | 3.45 | 34.5 | 31.05
7 | 23.598 | 2.76 | 1.242 |  | 6.9 | 34.5 | [8 empty] | 67.275 | 1.725
8
200626: RNAseAlert kit: test 13: Orf1ab dilution range
General design:
Dilution range of RNA target
Chemicals used in the assay
short name | details | stock concentraiton | used concentation
water
buffer | 1M HEPES, pH7.0 |  | 1M
substrate | 2 nmol/tube dissolved in 1ml => 2uM, i.e. 2pmol/ul => this had to be diluted approximatelly twice |  | 2uM | ( new substrate in brown tube)
guideRNA |  | 10ng/ul |  | from Josie (freezer Joe -20deg.C)
Cas13a |  | 5ul of 2mg/ml stock + 153ul SB | 63.3ug/ul
benzoase | Benzoase(TM) nuclease |  | 25U/ul
pos target | RNA Orf1ab positive control 2.4ug/ul |  |  | dilute | 24000 | times (i.e. 240x then 100x) to get |  |  | 0.1ng/ul | which is 100 times less than guide RNA |  |  |  | 1.8868 | fmol | 0.037736 | fmol/ul | nM
neg target | RNA Orf1ab negative control 1.2ug/ul |  |  | dilute | 12000 | times (i.e. 120x then 100x) to get |  |  | 0.1ng/ul
Dilutions
pos RNA target | ug | dilute - times | umol/ul | pmol/ul [uM] | in 40ul
| 2.4 | 240 | 4.5283e-05 | 45.283 | 1.1321 | 1.1321 | uM
1 | 0.01 | 10 | 1.8868e-07 | 0.18868 | 0.004717 | 4.717 | nM
2 | 0.001 | 10 | 1.8868e-08 | 0.018868 | 0.0004717 | 0.4717 | nM
3 | 0.0001 | 10 | 1.8868e-09 | 0.0018868 | 4.717e-05 | 47.1698 | pM
4 | 1e-05 | 10 | 1.8868e-10 | 0.00018868 | 4.717e-06 | 4.717 | pM
5 | 1e-06 | 10 | 1.8868e-11 | 1.8868e-05 | 4.717e-07 | 471.6981 | fM
for 4 replicates (4 times 1.15 more)
pipetting order/ treatment -> | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube A - pipette | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate | Tube B - on plate
reaction mix No. | water | 20mM HEPES pH7 | 1M MgCl2 |  | guide RNA | substrate | Cas13 |  |  | Orf1ab RNA positive | Orf1ab RNA negative | S RNA positive | S RNA negative | substrate | water | Benzoase(TM) nuclease 25U/ul | total | tube A | tube B | notes | details
1 | 8.25 | 0.5 | 0.25 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 2 |  | 25 | 13 | 13 | pos ctrl | 10ng +RNA
2 | 8.25 | 0.5 | 0.25 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 2 |  | 25 | 13 | 13 | pos ctrl | 1ng +RNA
3 | 8.25 | 0.5 | 0.25 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 2 |  | 25 | 13 | 13 | pos ctrl | 0.1ng +RNA
4 | 8.25 | 0.5 | 0.25 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 2 |  | 25 | 13 | 13 | pos ctrl | 10pg +RNA
5 | 8.25 | 0.5 | 0.25 |  | 2 |  | 2 |  |  | 1 |  |  |  | 10 | 2 |  | 25 | 13 | 13 | pos ctrl | 1pg +RNA
6 | 8.25 | 0.5 | 0.25 |  | 2 |  | 2 |  |  |  | 1 |  |  | 10 | 2 |  | 25 | 13 | 13 | neg ctrl | 10ng -RNA
7 | 10.25 | 0.5 | 0.25 |  | 2 |  |  |  |  | 1 |  |  |  | 10 | 2 |  | 25 | 13 | 13 | neg ctrl | 10ng +RNA | noCas13 Orf
8 | 0.25 | 0.5 | 0.25 |  | 2 | 10 | [8 empty] | 12.5 | 0.5 | 25 | 13 | 13 | pos ctrl | reporter test
9 |  | 0 | [17 empty] | neg ctrl | air
times | 4.6
1 | 37.95 | 2.3 | 1.15 |  | 9.2 |  | 9.2 |  |  | 4.6 |  |  |  | 46 | 9.2
2 | 37.95 | 2.3 | 1.15 |  | 9.2 |  | 9.2 |  |  | 4.6 |  |  |  | 46 | 9.2
3 | 37.95 | 2.3 | 1.15 |  | 9.2 |  | 9.2 |  |  | 4.6 |  |  |  | 46 | 9.2
4 | 37.95 | 2.3 | 1.15 |  | 9.2 |  | 9.2 |  |  | 4.6 |  |  |  | 46 | 9.2
5 | 37.95 | 2.3 | 1.15 |  | 9.2 |  | 9.2 |  |  | 4.6 |  |  |  | 46 | 9.2
6 | 37.95 | 2.3 | 1.15 |  | 9.2 |  | 9.2 |  |  |  | 4.6 |  |  | 46 | 9.2
7 | 47.15 | 2.3 | 1.15 |  | 9.2 |  |  |  |  | 4.6 |  |  |  | 46 | 9.2
8 | 1.15 | 2.3 | 1.15 |  | 9.2 | 46 | [8 empty] | 57.5 | 2.3
Instructions
…1: pipette tube A and B as separate columns on 96 well plate on ice
…2: mix A and B (still on ice)
…3: transfer 25ul in 384well plate - 4 replicates in square of 4 wells, measure fluorescence in kinetic loop imediatelly

## Sheet2
ug | 1.8
MW | 51384
mol | 3.503e-11
molecules | 2.1018e+13
dilute to | 100000000000 | copies/ul | 210.1822 | times
| 100000000 |  | 1000
| 1000000 |  | 100